## Test Cases
TC ID | Module | Category | Test Title | Preconditions | Test Steps | Test Data | Expected Result | Actual Result | Priority | Test Type | Status
TC_001 | Navigation | UI/UX | Verify left sidebar navigation menu items display correctly | User is logged in and on the PULSE dashboard | 1. Observe the left sidebar navigation 2. Check all menu items are visible 3. Verify icons are displayed next to each item | Menu items: Digital Twin, Monitor, Explore, Intelligence, AI Operations, Settings, Role Based Dashboards, Primary Menu | All navigation items are displayed with correct icons and labels |  | High | Functional | Not Executed
TC_002 | Navigation | UI/UX | Verify AI Operations submenu expands on click | User is logged in and on the PULSE dashboard | 1. Click on 'AI Operations' in the left sidebar 2. Observe submenu expansion | Submenu items: Maintenance, Alarms, FDD, Smart Cx, Start/Stop | AI Operations submenu expands showing all sub-items with proper indentation |  | High | Functional | Not Executed
TC_003 | Navigation | UI/UX | Verify Start/Stop page is highlighted when active | User is logged in and AI Operations is expanded | 1. Click on 'Start/Stop' submenu item 2. Observe visual state of the menu item | Start/Stop menu item | Start/Stop item is highlighted in purple/active color indicating current page |  | Medium | UI/UX | Not Executed
TC_004 | Navigation | UI/UX | Verify Collapse button functionality in sidebar | User is on the Start/Stop page with sidebar expanded | 1. Click the 'Collapse' button at bottom of sidebar 2. Observe sidebar behavior 3. Click again to expand | Collapse/Expand toggle | Sidebar collapses to show only icons and expands back on toggle |  | Low | UI/UX | Not Executed
TC_005 | Header | UI/UX | Verify Whitespace (DIC) dropdown in header | User is on the Start/Stop page | 1. Locate the 'Whitespace (DIC)' dropdown in top header 2. Click on the dropdown 3. Observe options | Whitespace (DIC) dropdown | Dropdown opens showing available building/location options |  | High | Functional | Not Executed
TC_006 | Header | UI/UX | Verify search functionality in header | User is on the Start/Stop page | 1. Click on 'Search anything here...' search bar 2. Type a search term 3. Observe results | Search term: 'Office 01' | Search bar accepts input and displays relevant results |  | Medium | Functional | Not Executed
TC_007 | Header | UI/UX | Verify Last Updated timestamp display | User is on the Start/Stop page | 1. Observe 'Last Updated: Custom' label in header 2. Verify timestamp format | Last Updated: Custom | Last Updated shows correct timestamp or 'Custom' label with clickable option |  | Medium | UI/UX | Not Executed
TC_008 | Header | UI/UX | Verify notification bell icon with badge | User is on the Start/Stop page | 1. Locate the notification bell icon in header 2. Observe badge count 3. Click on it | Notification bell with count badge | Bell icon displays notification count and opens notification panel on click |  | Medium | Functional | Not Executed
TC_009 | Header | UI/UX | Verify user profile icon in header | User is on the Start/Stop page | 1. Locate user profile icon in top right 2. Click on it | User profile icon | Profile icon shows user avatar and opens profile menu/options on click |  | Medium | Functional | Not Executed
TC_010 | Optimized Start/Stop | UI/UX | Verify page title and description display | User navigates to Start/Stop page | 1. Observe the page title 'Optimized Start/Stop' 2. Read the description text 3. Verify back arrow button | Title: Optimized Start/Stop, Description about AI-driven pre-conditioning algorithms | Page title, description, and back navigation arrow are displayed correctly |  | High | UI/UX | Not Executed
TC_011 | Optimized Start/Stop | Functional | Verify back arrow navigation | User is on the Start/Stop page | 1. Click the back arrow (←) next to page title 2. Observe navigation behavior | Back arrow button | User is navigated to the previous page or parent AI Operations page |  | Medium | Functional | Not Executed
TC_012 | AI Control Mode | Functional | Verify all AI Control Mode options are displayed | User is on the Start/Stop page | 1. Locate 'AI Control Mode' section 2. Verify all four mode options are visible | Modes: Learning, Simulating, Semi-Auto, Autonomous | All four AI control mode options are displayed with respective icons |  | High | Functional | Not Executed
TC_013 | AI Control Mode | Functional | Verify Semi-Auto mode is currently selected | User is on the Start/Stop page | 1. Observe the AI Control Mode section 2. Check which mode is highlighted/selected | Semi-Auto mode with yellow/orange border highlight | Semi-Auto mode is visually highlighted with a distinct border indicating active selection |  | High | Functional | Not Executed
TC_014 | AI Control Mode | Functional | Verify switching from Semi-Auto to Learning mode | User is on Start/Stop page with Semi-Auto selected | 1. Click on 'Learning' mode option 2. Observe visual feedback 3. Verify mode change confirmation | Switch from Semi-Auto to Learning | Mode switches to Learning with appropriate visual indicator and confirmation dialog/toast |  | High | Functional | Not Executed
TC_015 | AI Control Mode | Functional | Verify switching to Simulating mode | User is on Start/Stop page | 1. Click on 'Simulating' mode option 2. Observe behavior change | Switch to Simulating mode | Mode switches to Simulating with visual confirmation and schedule data updates accordingly |  | High | Functional | Not Executed
TC_016 | AI Control Mode | Functional | Verify switching to Autonomous mode | User is on Start/Stop page | 1. Click on 'Autonomous' mode option 2. Observe any warning/confirmation dialogs | Switch to Autonomous mode | System shows confirmation dialog before switching to Autonomous mode due to full AI control |  | High | Functional | Not Executed
TC_017 | AI Control Mode | Negative | Verify mode switch behavior during active HVAC operation | HVAC system is actively running optimized schedule | 1. While system is running, attempt to switch modes 2. Observe system behavior | Mode switch during active operation | System either prevents mode switch with warning or gracefully transitions without disrupting current operations |  | High | Negative | Not Executed
TC_018 | AI Control Mode | UI/UX | Verify green checkmark icons on Learning and Simulating modes | User is on Start/Stop page | 1. Observe Learning mode card 2. Observe Simulating mode card 3. Check for green checkmark indicators | Green checkmark on Learning and Simulating | Green checkmarks indicate these modes have been completed/validated |  | Medium | UI/UX | Not Executed
TC_019 | Today's Conditions | Functional | Verify Outdoor Temperature display | User is on Start/Stop page with weather data available | 1. Locate Today's Conditions section 2. Verify Outdoor Temp card shows temperature value 3. Check subtitle text | 27°C, +15 min pre-cool needed | Outdoor temperature displays correct value in °C with pre-cool adjustment note |  | High | Functional | Not Executed
TC_020 | Today's Conditions | Functional | Verify Relative Humidity display | User is on Start/Stop page with weather data available | 1. Locate Relative Humidity card 2. Verify percentage value 3. Check subtitle | 50%, Higher latent load | Relative Humidity shows correct percentage with load indicator |  | High | Functional | Not Executed
TC_021 | Today's Conditions | Functional | Verify Forecast Peak display | User is on Start/Stop page with weather data available | 1. Locate Forecast Peak card 2. Verify temperature value 3. Check subtitle | 38°C, Extended run likely | Forecast Peak shows predicted peak temperature with operational impact note |  | High | Functional | Not Executed
TC_022 | Today's Conditions | Functional | Verify Temperature Compliance display | User is on Start/Stop page | 1. Locate Temperature Compliance card 2. Verify percentage value 3. Check color indicator and subtitle | 8%, Normal weekday | Temperature Compliance shows percentage with green indicator for normal conditions |  | High | Functional | Not Executed
TC_023 | Today's Conditions | Functional | Verify No of Rooms display | User is on Start/Stop page | 1. Locate 'No of Rooms' card 2. Verify room count 3. Check subtitle | 12, Building retained heat | Number of rooms displays correctly with status description |  | High | Functional | Not Executed
TC_024 | Today's Conditions | UI/UX | Verify color coding of condition cards | User is on Start/Stop page | 1. Observe color indicators on each condition card 2. Green for normal, yellow/orange for warnings | Color coding: Green (normal), Yellow (caution), Orange (warning) | Each condition card has appropriate color coding based on severity/status |  | Medium | UI/UX | Not Executed
TC_025 | Today's Conditions | Negative | Verify display when weather data is unavailable | Weather service/API is down or unreachable | 1. Simulate weather data unavailability 2. Navigate to Start/Stop page 3. Observe Today's Conditions section | No weather data available | Section shows appropriate error message or 'Data unavailable' placeholder, not blank or broken UI |  | High | Negative | Not Executed
TC_026 | Today's Conditions | Edge Case | Verify display with extreme temperature values | System receives extreme weather data | 1. Input extreme temperature data (e.g., -40°C or 55°C) 2. Observe how the UI handles display | Temperature: -40°C or 55°C | UI properly displays extreme values without layout breaking or data overflow |  | Medium | Edge Case | Not Executed
TC_027 | Optimized Schedule | Functional | Verify schedule section title and description | User is on Start/Stop page | 1. Locate 'Today's Optimized Schedule' section 2. Read the subtitle description | Title: Today's Optimized Schedule | Section displays title with description about AI-calculated start/stop times adjusted for conditions |  | Medium | UI/UX | Not Executed
TC_028 | Optimized Schedule | Functional | Verify Melvin's Office zone card data | User is on Start/Stop page with schedule data loaded | 1. Locate 'Melvin's Office' card 2. Verify all fields are populated | Occupancy Start: 07:00 AM, Optimized Start: 06:05 AM, Pre-cool Duration: 55 min, Occupancy End: 06:00 PM, Optimized Stop: 05:40 PM, Coast Duration: 20 min saved, Energy Saved: 0.4 kWh | All schedule parameters display correct values with proper formatting |  | High | Functional | Not Executed
TC_029 | Optimized Schedule | Functional | Verify Optimized Start time is before Occupancy Start | User is on Start/Stop page with schedule loaded | 1. For each zone card, compare Occupancy Start and Optimized Start times 2. Verify Optimized Start is always earlier | Multiple zone cards | Optimized Start time is always earlier than Occupancy Start time (pre-cooling starts before occupancy) |  | High | Functional | Not Executed
TC_030 | Optimized Schedule | Functional | Verify Optimized Stop time is before Occupancy End | User is on Start/Stop page with schedule loaded | 1. For each zone card, compare Occupancy End and Optimized Stop times 2. Verify Optimized Stop is earlier (coast period) | Multiple zone cards | Optimized Stop time is always earlier than Occupancy End (allowing coast-through period) |  | High | Functional | Not Executed
TC_031 | Optimized Schedule | Functional | Verify Pre-cool Duration calculation accuracy | User is on Start/Stop page | 1. Calculate difference between Occupancy Start and Optimized Start 2. Compare with displayed Pre-cool Duration | Melvin's Office: 07:00 AM - 06:05 AM = 55 min | Pre-cool Duration matches the time difference between Occupancy Start and Optimized Start |  | High | Functional | Not Executed
TC_032 | Optimized Schedule | Functional | Verify Coast Duration calculation accuracy | User is on Start/Stop page | 1. Calculate difference between Occupancy End and Optimized Stop 2. Compare with displayed Coast Duration | Melvin's Office: 06:00 PM - 05:40 PM = 20 min | Coast Duration matches the time difference between Occupancy End and Optimized Stop |  | High | Functional | Not Executed
TC_033 | Optimized Schedule | Functional | Verify Energy Saved Today values are positive | User is on Start/Stop page with schedule loaded | 1. Check Energy Saved Today value for each zone 2. Verify all values are positive or zero | Energy values: 0.4 kWh, 0.4 kWh, 1.9 kWh, etc. | All Energy Saved values are non-negative numbers displayed in kWh |  | High | Functional | Not Executed
TC_034 | Optimized Schedule | Functional | Verify zone running status indicator | User is on Start/Stop page with active zones | 1. Observe status indicators at bottom of each zone card 2. Check for 'Running — At setpoint' or 'Idle' status | Status: Running — At setpoint, Idle | Each zone displays correct running status with appropriate color (green for running, grey for idle) |  | High | Functional | Not Executed
TC_035 | Optimized Schedule | Functional | Verify all 12 zone cards are displayed | User is on Start/Stop page (12 rooms indicated in conditions) | 1. Count all zone cards in the schedule section 2. Verify count matches 'No of Rooms' value | Expected zones: Melvin's Office, Mezzanine Office Space 1, 2, 3, Mezzanine Pantry, White Space 01, 02, 03, Office 01, 02, Electrical Room, White_Space-Corridor | All 12 zone cards are displayed matching the room count in Today's Conditions |  | High | Functional | Not Executed
TC_036 | Optimized Schedule | UI/UX | Verify time values are color-coded (green for optimized) | User is on Start/Stop page | 1. Observe Optimized Start and Optimized Stop time values 2. Verify they appear in green color | Green colored time values | Optimized Start and Optimized Stop times are displayed in green to differentiate from standard times |  | Medium | UI/UX | Not Executed
TC_037 | Optimized Schedule | Functional | Verify White_Space-Corridor shows no data (dashes) | User is on Start/Stop page | 1. Locate White_Space-Corridor card 2. Observe all field values show dashes (-) | All fields showing '-' for White_Space-Corridor | Zone displays dashes for all parameters indicating no schedule/unoccupied zone |  | Medium | Functional | Not Executed
TC_038 | Optimized Schedule | Edge Case | Verify schedule display when occupancy start equals optimized start | Zone where pre-cool is not needed (e.g., mild weather) | 1. Check if any zone has matching Occupancy Start and Optimized Start 2. Verify Pre-cool Duration shows 0 min | Pre-cool Duration: 0 min | When no pre-cooling needed, Pre-cool Duration shows 0 and times match |  | Medium | Edge Case | Not Executed
TC_039 | Optimized Schedule | Negative | Verify behavior when schedule data fails to load | Network error or API failure for schedule data | 1. Simulate API failure for schedule data 2. Navigate to Start/Stop page 3. Observe schedule section | API timeout/error | Section shows loading error message with retry option, not blank cards |  | High | Negative | Not Executed
TC_040 | Optimized Schedule | Edge Case | Verify schedule with overnight occupancy | Zone has occupancy spanning midnight (e.g., 10 PM to 6 AM) | 1. Configure a zone with overnight occupancy 2. Observe how schedule handles day boundary | Occupancy Start: 10:00 PM, Occupancy End: 06:00 AM (next day) | Schedule correctly handles overnight occupancy without calculation errors |  | Medium | Edge Case | Not Executed
TC_041 | Optimized Schedule | Functional | Verify Mezzanine Office Space 2 shows Idle status | User is on Start/Stop page | 1. Locate Mezzanine Office Space 2 card 2. Check the status indicator | Status: Idle (shown in yellow/orange) | Zone correctly shows 'Idle' status when not actively running |  | Medium | Functional | Not Executed
TC_042 | Algorithm Intelligence | Functional | Verify Thermal Mass Learning section display | User scrolls to Algorithm Intelligence section | 1. Locate 'Thermal Mass Learning' card 2. Verify description and parameters 3. Check expandable fields | Fields: Model Accuracy, Training Data, Re-training Cycle | Thermal Mass Learning card shows description about ML model and expandable parameter fields |  | High | Functional | Not Executed
TC_043 | Algorithm Intelligence | Functional | Verify Weather Forecast Integration section | User scrolls to Algorithm Intelligence section | 1. Locate 'Weather Forecast Integration' card 2. Verify description and parameters | Fields: Forecast Source, Update Frequency, Accuracy (24h) | Weather Forecast card shows integration details with expandable parameters |  | High | Functional | Not Executed
TC_044 | Algorithm Intelligence | Functional | Verify Occupancy Prediction section | User scrolls to Algorithm Intelligence section | 1. Locate 'Occupancy Prediction' card 2. Verify description and parameters | Fields: Prediction Accuracy, Low Occupancy Savings, Holiday Detection | Occupancy Prediction card shows access card/calendar integration details |  | High | Functional | Not Executed
TC_045 | Algorithm Intelligence | Functional | Verify Coast-Through Calculation section | User scrolls to Algorithm Intelligence section | 1. Locate 'Coast-Through Calculation' card 2. Verify description and parameters | Fields: Avg Coast Time, Max Temp Rise Allowed, Comfort Compliance | Coast-Through card explains early HVAC stop methodology with parameters |  | High | Functional | Not Executed
TC_046 | Algorithm Intelligence | Functional | Verify Cooling Model Parameters section | User scrolls to Algorithm Intelligence section | 1. Locate 'Cooling Model Parameters' card 2. Verify all parameters listed | Fields: Building Time Constant (τ), Envelope U-Value, Internal Heat Gain, Solar Heat Gain Coefficient, Cooling Capacity, Pull-Down Rate | All cooling model parameters are displayed with expand/collapse arrows |  | High | Functional | Not Executed
TC_047 | Algorithm Intelligence | Functional | Verify Weekly Performance Summary section | User scrolls to Algorithm Intelligence section | 1. Locate 'Weekly Performance Summary' card 2. Verify metrics displayed | Fields: Total Energy Saved (1,840 kWh), Cost Savings, Comfort Violations, Avg Start Advance, Avg Coast Duration, Model Recalibrations | Weekly Performance shows summary with Total Energy Saved value of 1,840 kWh highlighted in green |  | High | Functional | Not Executed
TC_048 | Algorithm Intelligence | Functional | Verify expandable/collapsible parameter fields | User is viewing Algorithm Intelligence section | 1. Click on any parameter field with expand arrow (>) 2. Observe expansion behavior 3. Click again to collapse | Click on 'Model Accuracy' expand arrow | Parameter field expands to show detailed value/graph and collapses on second click |  | Medium | Functional | Not Executed
TC_049 | Algorithm Intelligence | UI/UX | Verify section description text | User scrolls to Algorithm Intelligence section | 1. Read the section subtitle/description | Description about AI calculating optimal start/stop times | Description clearly explains that AI learns from building physics, occupancy patterns, and weather data |  | Low | UI/UX | Not Executed
TC_050 | Annual Impact | Functional | Verify Annual Savings card display | User scrolls to Annual Impact section | 1. Locate 'Annual Savings' card 2. Verify icon, value, and subtitle | Annual Savings - Reduced HVAC runtime hours | Annual Savings card displays with learning icon, value, and 'Reduced HVAC runtime hours' subtitle |  | High | Functional | Not Executed
TC_051 | Annual Impact | Functional | Verify Energy Reduced card display | User scrolls to Annual Impact section | 1. Locate 'Energy Reduced' card 2. Verify icon, value, and subtitle | Energy Reduced - 25% less from fixed schedule | Energy Reduced card shows percentage reduction compared to fixed schedule |  | High | Functional | Not Executed
TC_052 | Annual Impact | Functional | Verify Emissions Avoided card display | User scrolls to Annual Impact section | 1. Locate 'Emissions Avoided' card 2. Verify icon, value, and subtitle | Emissions Avoided - Equivalent to 18 cars/year | Emissions Avoided card displays with equivalent car emissions comparison |  | High | Functional | Not Executed
TC_053 | Annual Impact | Functional | Verify Equipment Life Extended card display | User scrolls to Annual Impact section | 1. Locate 'Equipment Life Extended' card 2. Verify icon, value, and subtitle | Equipment Life Extended - Fewer start/stop cycles | Equipment Life card shows extension benefit with fewer start/stop cycles explanation |  | High | Functional | Not Executed
TC_054 | Annual Impact | UI/UX | Verify Annual Impact section visual design | User scrolls to Annual Impact section | 1. Observe the gradient colored cards 2. Verify consistent card sizing and alignment | Purple/green gradient cards with icons | All four impact cards have consistent gradient styling, proper spacing, and aligned content |  | Medium | UI/UX | Not Executed
TC_055 | Footer | UI/UX | Verify footer version and copyright information | User scrolls to bottom of page | 1. Observe footer content 2. Verify version number and copyright | v1.0.0 - Test ¦ @2026. All Right Reserved. | Footer displays correct version number and copyright year |  | Low | UI/UX | Not Executed
TC_056 | Footer | Functional | Verify Terms of Use link | User is at the bottom of the page | 1. Click 'Terms of Use' link in footer 2. Observe navigation | Terms of Use link | Link navigates to Terms of Use page or opens in new tab |  | Low | Functional | Not Executed
TC_057 | Footer | Functional | Verify Policy link | User is at the bottom of the page | 1. Click 'Policy' link in footer 2. Observe navigation | Policy link | Link navigates to Privacy Policy page or opens in new tab |  | Low | Functional | Not Executed
TC_058 | Footer | Functional | Verify Support link | User is at the bottom of the page | 1. Click 'Support' link in footer 2. Observe navigation | Support link | Link navigates to Support/Help page or opens support chat |  | Low | Functional | Not Executed
TC_059 | Footer | Functional | Verify chat widget (Intercom-style) button | User is on the Start/Stop page | 1. Locate the orange/yellow chat bubble in bottom-right corner 2. Click on it | Chat widget button | Chat widget opens allowing user to send messages to support team |  | Medium | Functional | Not Executed
TC_060 | Security | Security | Verify authentication required to access Start/Stop page | User is not logged in | 1. Attempt to access Start/Stop page URL directly without authentication 2. Observe behavior | Direct URL access without login session | User is redirected to login page; unauthorized access is denied |  | Critical | Security | Not Executed
TC_061 | Security | Security | Verify role-based access to AI Control Mode switching | User with read-only role is logged in | 1. Login as read-only user 2. Attempt to switch AI Control Mode 3. Observe response | Read-only user credentials | Read-only users cannot switch AI Control modes; action is disabled or shows permission error |  | Critical | Security | Not Executed
TC_062 | Security | Security | Verify API endpoint security for schedule data | User has access to browser developer tools | 1. Open browser dev tools 2. Inspect network requests for schedule data 3. Verify API uses authentication tokens | Network request inspection | All API calls include proper authentication headers; no sensitive data in URL parameters |  | Critical | Security | Not Executed
TC_063 | Security | Security | Verify XSS protection in search field | User is on Start/Stop page | 1. Enter script tag in search field: <script>alert('XSS')</script> 2. Submit search 3. Observe behavior | Input: <script>alert('XSS')</script> | Input is sanitized; no script execution occurs; search shows no results safely |  | Critical | Security | Not Executed
TC_064 | Security | Security | Verify session timeout on Start/Stop page | User is logged in and idle for extended period | 1. Login and navigate to Start/Stop page 2. Wait for session timeout period 3. Attempt to interact with page | Session timeout: 30 minutes idle | Session expires after timeout; user is prompted to re-login; no stale data displayed |  | High | Security | Not Executed
TC_065 | Security | Security | Verify HTTPS enforcement for all page resources | User accesses the Start/Stop page | 1. Open browser dev tools > Security tab 2. Verify all resources load over HTTPS 3. Check for mixed content warnings | All page resources (CSS, JS, API calls, images) | All resources are served over HTTPS; no mixed content warnings |  | Critical | Security | Not Executed
TC_066 | Security | Security | Verify no sensitive data exposed in browser console | User is on Start/Stop page | 1. Open browser developer console 2. Check for any logged sensitive information 3. Review console output | Console log inspection | No API keys, tokens, passwords, or sensitive building data is logged to console |  | High | Security | Not Executed
TC_067 | Security | Security | Verify unauthorized mode change via API manipulation | User has access to browser dev tools | 1. Capture the API call for mode switch 2. Replay with modified parameters or different user token 3. Observe server response | Modified API request with invalid/expired token | Server rejects unauthorized requests with 401/403 status code |  | Critical | Security | Not Executed
TC_068 | Performance | Performance | Verify page load time for Start/Stop page | User has stable internet connection | 1. Navigate to Start/Stop page 2. Measure total page load time including all zone cards 3. Check for loading indicators | Expected load time: < 3 seconds | Page loads completely within 3 seconds with all zone data populated |  | High | Performance | Not Executed
TC_069 | Performance | Performance | Verify real-time data refresh for zone status | User is on Start/Stop page with running zones | 1. Observe zone status updates 2. Verify if data refreshes automatically 3. Check refresh interval | Auto-refresh interval | Zone status updates in real-time or at regular intervals without full page reload |  | High | Performance | Not Executed
TC_070 | Responsiveness | UI/UX | Verify page layout on tablet device (iPad) | User accesses page on tablet device | 1. Open Start/Stop page on tablet (1024x768) 2. Verify zone cards layout 3. Check all sections are accessible | Tablet resolution: 1024x768 | Page adapts to tablet layout; zone cards may show 2 per row; all content accessible |  | Medium | UI/UX | Not Executed
TC_071 | Responsiveness | UI/UX | Verify page layout on mobile device | User accesses page on mobile device | 1. Open Start/Stop page on mobile (375x812) 2. Verify scrolling and card stacking 3. Check navigation accessibility | Mobile resolution: 375x812 | Page is responsive; cards stack vertically; sidebar becomes hamburger menu; all data readable |  | Medium | UI/UX | Not Executed
TC_072 | Responsiveness | UI/UX | Verify page layout on large monitor (1920x1080) | User accesses page on large monitor | 1. Open Start/Stop page on full HD monitor 2. Verify zone cards show 3 per row 3. Check spacing and alignment | Desktop resolution: 1920x1080 | Page utilizes full width with 3 zone cards per row and proper spacing |  | Medium | UI/UX | Not Executed
TC_073 | Optimized Schedule | Functional | Verify Mezzanine Office Space 1 data accuracy | User is on Start/Stop page | 1. Locate Mezzanine Office Space 1 card 2. Verify: Occupancy Start 07:00 AM, Optimized Start 06:18 AM, Pre-cool 45 min, End 06:00 PM, Stop 06:35 PM, Coast 15 min, Energy 0.4 kWh | Mezzanine Office Space 1 data values | All values match expected schedule and Pre-cool Duration = Occupancy Start - Optimized Start |  | High | Functional | Not Executed
TC_074 | Optimized Schedule | Edge Case | Verify handling when Optimized Stop exceeds Occupancy End | System calculates stop time anomaly | 1. Check Mezzanine Office Space 1 where Optimized Stop (06:35 PM) is AFTER Occupancy End (06:00 PM) 2. Investigate if this is a bug or valid scenario | Optimized Stop: 06:35 PM > Occupancy End: 06:00 PM | This should not occur - Optimized Stop should always be before or at Occupancy End; flag as potential bug |  | Critical | Edge Case | Not Executed
TC_075 | Optimized Schedule | Functional | Verify multiple zones can show different statuses simultaneously | Multiple zones are in different states | 1. Observe all zone cards 2. Verify some show 'Running — At setpoint' and others show 'Idle' | Mixed statuses across zones | System correctly displays different statuses per zone based on individual zone operations |  | Medium | Functional | Not Executed
TC_076 | Optimized Schedule | Negative | Verify behavior with no occupancy schedule configured | Zone has no occupancy schedule defined | 1. Check a zone with no schedule 2. Observe what the card displays | Zone with no occupancy data | Card displays appropriate message or dashes indicating no schedule configured |  | Medium | Negative | Not Executed
TC_077 | AI Control Mode | Edge Case | Verify rapid mode switching behavior | User is on Start/Stop page | 1. Quickly click between different modes multiple times 2. Observe final state 3. Check for errors | Rapid clicks between Learning, Simulating, Semi-Auto, Autonomous | System handles rapid clicks gracefully; settles on last selected mode without errors |  | Medium | Edge Case | Not Executed
TC_078 | Today's Conditions | Functional | Verify conditions update with building/location change | User is on Start/Stop page | 1. Change building selection in 'Whitespace (DIC)' dropdown 2. Observe if Today's Conditions update | Switch from Whitespace (DIC) to another building | All condition values update to reflect the newly selected building's weather and data |  | High | Functional | Not Executed
TC_079 | Optimized Schedule | Functional | Verify schedule changes with building selection | User changes building in dropdown | 1. Select a different building from header dropdown 2. Observe schedule section update | Different building selection | Zone cards update to show the selected building's zones and schedule data |  | High | Functional | Not Executed
TC_080 | Algorithm Intelligence | Negative | Verify behavior when model has not been trained | New building with no historical data | 1. Select a newly added building 2. Navigate to Algorithm Intelligence section 3. Check model accuracy fields | New building with no training data | Fields show 'Not yet available' or 'Training in progress' with appropriate status indicators |  | Medium | Negative | Not Executed
TC_081 | Optimized Schedule | Functional | Verify Energy Saved Today accumulates throughout the day | User monitors page during the day | 1. Check Energy Saved value in morning 2. Check same zone in afternoon 3. Compare values | Morning vs afternoon Energy Saved values | Energy Saved Today value increases throughout the day as optimization continues |  | Medium | Functional | Not Executed
TC_082 | Security | Security | Verify concurrent session handling | Same user logged in on two different devices | 1. Login on Device A and navigate to Start/Stop 2. Login on Device B with same credentials 3. Change mode on Device B 4. Observe Device A | Two concurrent sessions, same user | System handles concurrent sessions per policy (either both update or one is invalidated) |  | High | Security | Not Executed
TC_083 | Annual Impact | Edge Case | Verify Annual Impact with zero energy savings | System just started with no savings accumulated | 1. Check Annual Impact section on day 1 of deployment 2. Verify display with zero/minimal values | Annual Savings: 0, Energy Reduced: 0% | Cards show zero or 'Calculating...' without displaying negative values or errors |  | Medium | Edge Case | Not Executed
TC_084 | Optimized Schedule | UI/UX | Verify scrollability of zone cards section | More than 12 zones configured | 1. If more zones exist than fit on screen, verify scrolling works 2. Check if pagination exists or infinite scroll | 12+ zone cards | User can scroll/paginate through all zone cards without UI issues |  | Medium | UI/UX | Not Executed
TC_085 | Optimized Schedule | Functional | Verify time format consistency (12-hour AM/PM) | User is on Start/Stop page | 1. Check all time values across all zone cards 2. Verify consistent 12-hour format with AM/PM | Time format: HH:MM AM/PM | All times displayed consistently in 12-hour format with AM/PM suffix |  | Medium | Functional | Not Executed
TC_086 | Today's Conditions | Functional | Verify temperature unit consistency | User is on Start/Stop page | 1. Check Outdoor Temp unit 2. Check Forecast Peak unit 3. Verify consistency | Temperature in °C | All temperature values use consistent unit (°C) throughout the page |  | Medium | Functional | Not Executed
TC_087 | Algorithm Intelligence | Functional | Verify Total Energy Saved value in Weekly Performance | User scrolls to Algorithm Intelligence section | 1. Locate Weekly Performance Summary 2. Verify Total Energy Saved shows 1,840 kWh in green | Total Energy Saved: 1,840 kWh | Value is displayed in green font indicating positive savings with correct unit |  | High | Functional | Not Executed
TC_088 | Navigation | Functional | Verify dark/light mode toggle (if applicable) | User is on Start/Stop page | 1. Check for theme toggle in header (sun/moon icon) 2. If present, click to switch theme | Theme toggle icon | Page switches between light and dark mode with all elements properly styled |  | Low | Functional | Not Executed
TC_089 | Optimized Schedule | Negative | Verify behavior during daylight saving time transition | System date is on DST transition day | 1. Set system to DST transition date 2. Observe schedule calculations 3. Verify no 1-hour offset errors | DST transition: clocks spring forward/fall back | Schedule correctly handles DST without duplicate or missing hours in calculations |  | Medium | Negative | Not Executed
TC_090 | Security | Security | Verify input validation on building/location dropdown | User has access to dev tools | 1. Attempt to inject SQL/script through dropdown manipulation via dev tools 2. Modify dropdown value to malicious input 3. Submit | Modified dropdown value: '; DROP TABLE zones; -- | Server-side validation rejects malicious input; no SQL injection possible |  | Critical | Security | Not Executed

## Bugs
Bug ID | Module | Category | Bug Title | Preconditions | Steps to Reproduce | Test Data | Expected Result | Actual Result | Severity | Priority | Status | Environment
BUG_001 | Optimized Schedule | Functional | Optimized Stop time exceeds Occupancy End for Mezzanine Office Space 1 | User is on Start/Stop page with schedule loaded | 1. Navigate to Start/Stop page 2. Locate Mezzanine Office Space 1 card 3. Compare Optimized Stop (06:35 PM) with Occupancy End (06:00 PM) | Optimized Stop: 06:35 PM, Occupancy End: 06:00 PM | Optimized Stop should be BEFORE Occupancy End to allow coast-through period (HVAC stops early, building coasts on stored energy) | Optimized Stop (06:35 PM) is 35 minutes AFTER Occupancy End (06:00 PM), contradicting the coast-through optimization logic | High | High | Open | Web - Chrome/Desktop
BUG_002 | Optimized Schedule | Functional | Mezzanine Office Space 2 Optimized Stop exceeds Occupancy End | User is on Start/Stop page | 1. Navigate to Start/Stop page 2. Locate Mezzanine Office Space 2 card 3. Compare Optimized Stop (05:35 PM) with Occupancy End (06:00 PM) | Optimized Stop: 05:35 PM, Occupancy End: 06:00 PM | Optimized Stop should be before Occupancy End with a positive coast duration | Coast Duration shows '25 min saved' but the time difference is only 25 min (06:00 PM - 05:35 PM = 25 min). While this specific case appears correct, it's inconsistent with similar zones showing different patterns | Medium | Medium | Open | Web - Chrome/Desktop
BUG_003 | Optimized Schedule | UI/UX | Inconsistent zone naming convention - White_Space-Corridor uses underscore and hyphen | User is on Start/Stop page | 1. Observe all zone card names 2. Note 'White_Space-Corridor' uses underscore and hyphen 3. Compare with 'White Space 01', 'White Space 02' | Zone names: White Space 01, White Space 02, White_Space-Corridor | Consistent naming convention across all zones (either spaces, underscores, or hyphens - not mixed) | White_Space-Corridor uses mixed separators (underscore and hyphen) while other White Space zones use spaces | Low | Low | Open | Web - Chrome/Desktop
BUG_004 | Optimized Schedule | Functional | White_Space-Corridor shows all dashes with no explanation | User is on Start/Stop page | 1. Locate White_Space-Corridor card 2. Observe all fields show '-' (dash) 3. No tooltip or explanation provided | All fields: '-' | If zone has no schedule, show a clear message like 'No schedule configured' or 'Unoccupied zone' instead of just dashes | Zone card displays only dashes without any context or explanation for why data is unavailable | Medium | Medium | Open | Web - Chrome/Desktop
BUG_005 | Today's Conditions | UI/UX | Temperature Compliance shows 8% but marked as 'Normal weekday' | User is on Start/Stop page | 1. Locate Temperature Compliance card 2. Note value shows '8%' 3. Subtitle says 'Normal weekday' | Temperature Compliance: 8%, Normal weekday | 8% compliance seems very low for 'Normal weekday' - should either show higher compliance or label should indicate an issue | 8% Temperature Compliance is displayed with green indicator and 'Normal weekday' label, which is confusing - unclear if 8% means 8% non-compliant or 8% of target achieved | Medium | Medium | Open | Web - Chrome/Desktop
BUG_006 | Optimized Schedule | Functional | Mezzanine Pantry Optimized Stop (06:22 PM) exceeds Occupancy End (06:00 PM) | User is on Start/Stop page | 1. Locate Mezzanine Pantry card 2. Compare Occupancy End (06:00 PM) and Optimized Stop (06:22 PM) | Occupancy End: 06:00 PM, Optimized Stop: 06:22 PM | Optimized Stop should be before Occupancy End for coast-through savings | Optimized Stop (06:22 PM) is 22 minutes AFTER Occupancy End (06:00 PM), defying the coast-through optimization purpose | High | High | Open | Web - Chrome/Desktop
BUG_007 | Optimized Schedule | Functional | White Space 01 Optimized Stop (06:22 PM) exceeds Occupancy End (06:00 PM) | User is on Start/Stop page | 1. Locate White Space 01 card 2. Compare Occupancy End (06:00 PM) and Optimized Stop (06:22 PM) | Occupancy End: 06:00 PM, Optimized Stop: 06:22 PM | Optimized Stop should be before Occupancy End | Optimized Stop is 22 minutes AFTER Occupancy End, same issue as other zones | High | High | Open | Web - Chrome/Desktop
BUG_008 | Optimized Schedule | Functional | Office 01 Optimized Stop (06:40 PM) exceeds Occupancy End (06:00 PM) | User is on Start/Stop page | 1. Locate Office 01 card 2. Compare Occupancy End (06:00 PM) and Optimized Stop (06:40 PM) | Occupancy End: 06:00 PM, Optimized Stop: 06:40 PM | Optimized Stop should be before Occupancy End | Optimized Stop is 40 minutes AFTER Occupancy End - the largest discrepancy among all zones | High | High | Open | Web - Chrome/Desktop
BUG_009 | Optimized Schedule | Functional | White Space 03 Optimized Stop (05:40 PM) shows inconsistency with Coast Duration | User is on Start/Stop page | 1. Locate White Space 03 card 2. Occupancy End: 06:00 PM, Optimized Stop: 05:40 PM 3. Coast Duration: 20 min saved 4. Verify: 06:00 PM - 05:40 PM = 20 min ✓ | Occupancy End: 06:00 PM, Optimized Stop: 05:40 PM, Coast: 20 min | This zone is correct, but inconsistency with other zones having Stop > End raises data integrity concerns | Some zones correctly show Optimized Stop before Occupancy End while others show it after - indicates systematic calculation bug affecting specific zones | Medium | High | Open | Web - Chrome/Desktop
BUG_010 | Optimized Schedule | UI/UX | Coast Duration label says 'saved' which is misleading when Stop exceeds End | User is on Start/Stop page | 1. Observe zones where Optimized Stop > Occupancy End 2. Note Coast Duration still shows 'XX min saved' | Coast Duration: 15 min saved (Mezzanine Office Space 1) | If Optimized Stop is AFTER Occupancy End, there is no coast savings - the label 'saved' is incorrect | Coast Duration shows 'min saved' even when the system is running PAST occupancy end, which is energy waste not savings | High | High | Open | Web - Chrome/Desktop
BUG_011 | Footer | UI/UX | Copyright text shows '@2026' instead of '©2026' | User scrolls to footer | 1. Scroll to page footer 2. Observe copyright text 3. Note '@' symbol used instead of '©' | Footer text: v1.0.0 - Test ¦ @2026. All Right Reserved. | Copyright symbol should be '©' (©2026) and 'All Rights Reserved' (plural 'Rights') | Footer shows '@2026' instead of '©2026' and 'All Right Reserved' instead of 'All Rights Reserved' | Low | Low | Open | Web - Chrome/Desktop
BUG_012 | Annual Impact | UI/UX | Annual Impact values show '-' (no data) despite system being operational | System is operational with schedule running | 1. Scroll to Annual Impact section 2. Observe all four cards show '-' as values | All Annual Impact metrics showing '-' | Annual Impact cards should show accumulated values or 'Calculating' status for operational systems | All four Annual Impact cards (Savings, Energy Reduced, Emissions, Equipment Life) display only '-' with no context | Medium | Medium | Open | Web - Chrome/Desktop
BUG_013 | Algorithm Intelligence | UI/UX | Algorithm Intelligence parameters all show '-' (no expandable data) | User is on Start/Stop page | 1. Scroll to Algorithm Intelligence section 2. Check all parameter fields 3. Most show only '-' or expand arrow with no visible data | Parameters showing '-' with expand arrows | Parameters should show current values or 'N/A - Learning mode' if not yet available | All expandable parameters across all Algorithm Intelligence cards show only dashes with no actionable information | Medium | Medium | Open | Web - Chrome/Desktop
BUG_014 | Optimized Schedule | Functional | Office 02 Optimized Stop (05:22 PM) shows Coast Duration as 38 min but actual difference is 38 min | User is on Start/Stop page | 1. Locate Office 02 card 2. Occupancy End: 06:00 PM, Optimized Stop: 05:22 PM 3. Calculate: 06:00 PM - 05:22 PM = 38 min 4. Coast Duration shows: 38 min saved ✓ | Office 02: End 06:00 PM, Stop 05:22 PM, Coast 38 min | Calculation is correct for this zone, confirming the logic should have Stop < End everywhere | This zone is correct - further confirms that zones with Stop > End are bugs, not features | Low | Medium | Open | Web - Chrome/Desktop
BUG_015 | Optimized Schedule | UI/UX | Electrical Room shows Occupancy Start 07:00 AM but some other cards show 08:00 AM without clear explanation | User is on Start/Stop page | 1. Compare Occupancy Start times across zone cards 2. Note Electrical Room: 07:00 AM vs Office 02: 08:00 AM | Different Occupancy Start times across zones | Different start times are acceptable if configured per zone, but there should be a way to verify/configure them | Not a confirmed bug - different zones may have different occupancy schedules. However, an Electrical Room having early occupancy (07:00 AM) seems unusual for a utility space | Low | Low | Open | Web - Chrome/Desktop